|  |
| --- |
|  |

امضاءکننده زیر پس از مطالعه دقیق اسناد و مدارک مناقصه و آگاهی کامل از مفاد و مندرجات آن و اطلاع از محل و کلیه شرایط و عوامل موجود و مؤثر در انجام موضوع مناقصه فوق الاشاره اعلام می‌نماید:

* 1. کلیه اقلام موضوع مناقصه فوق الاشاره را بر اساس مشخصات فنی و اسناد پیوست و شرایط مناقصه و به مبلغ کل:

**(به عدد)**................................................ **(به حروف)** ............................................. **یورو** ارائه دهد.

* 1. چنانچه این پیشنهاد مورد قبول قرار گیرد، تعهد می‌نمایم که قرارداد مربوطه را امضاء نموده و تضمین انجام تعهدات را حداکثر ظرف مدت یک هفته از تاریخ ابلاغ برنده شدن (به استثناء روزهای تعطیل) تسلیم نمایم.
  2. تأیید می‌نمایم که کلیه ضمایم و اسناد و مدارک مناقصه مهر و امضاء گردیده و جزو لاینفک این پیشنهاد محسوب می‌گردد.
  3. اطلاع کامل دارد که دستگاه مناقصه گزار الزامی برای واگذاری کار به هریک یا تمام پیشنهاد دهندگان را ندارد.
  4. بدینوسیله موافقت و تأیید می‌کند که هرگاه این پیشنهاد مورد قبول دستگاه مناقصه گزار قرار گیرد تا موقعی که قرارداد مربوطه تنظیم و مبادله نگردیده است ابلاغ قبولی این پیشنهاد به عنوان یک تعهد لازم الاجرا برای پیشنهاد دهنده تلقی گردد و ظرف مدت 5 روز از تاریخ ابلاغ کار خود را شروع نماید.
  5. پیشنهاد حاضر از تاریخ اتمام مهلت دریافت پیشنهادات به مدت سه ماه معتبر بوده و حداکثر برای یک دوره 3 ماهه دیگر قابل تمدید می‌باشد. در عرض این مدت هر لحظه شرکت پتروشیمی هنگام قبولی خود را کتباً نسبت به آن اعلام نماید، برای این شرکت الزام آور خواهد بود و در صورتی که این شرکت حاضر به عقد قرارداد و یا انجام کار نشود و یا از شرایط مقرر عدول نماید، شرکت پتروشیمی هنگام حق دارد سپرده شرکت در مناقصه را به نفع خود ضبط نماید.

**نشانی و شماره تلفن:**

**کد اقتصادی:**

**نام و نام خانوادگی و سمت پیشنهاد دهنده:**

**امضاء پیشنهاد دهنده همراه با مهر شرکت:**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **شماره درخواست KHD-0240665** | | | | | |
| **ردیف** | **شرح کالا** | **تعداد** | **واحد** | **قیمت واحد (یورو)** | **قیمت کل (یورو)** | |
| **1** | Temperature transmitter,Range:-50/+150 °C,ELEMENT :2\*PT100(3WIRE),Sheath O.D.: 6mm, NPT 1/2",IP 66,with display,Total length: 300 mm Model: SensyTemp TSP111 with TTH200 HART PART NO:TSP111-A1Z9N1Z9S1D6P5B2B3H7AZCEP4V6 & TTH200-E1HBSC6EMGHA "ABB" | PC | 4 |  |  | |
| **2** | Temperature transmitters, Calibrated Range: 50...+150°C, Output Signal: 4 to 20 mA, HART, Power Supply: 11 to 40 V DC (loop powered) with LCD indicator type AS Model: TTH200 HART PART NO:TTH200-E1HBSC6EMGHAD3M5 Manufacturer:ABB | NO | 10 |  |  | |
| **3** | Temperature Element, 2\*PT100(3WIRE),Sheath: 6mm(AISI 316L),NPT 1/2",Temperature Range: -50…+400°C,Accuracy: 0.02%,Without transmitter,sensor with flying leads,IEC60751 Inset length ''L'': 300 mm Model: TSA101-Open connection wires PART NO:TSA101 "ABB" | NO | 4 |  |  | |
| **4** | Temperature Element,2\*PT100(3WIRE),Sheath: 6mm(AISI 316L),NPT 1/2",Temperature Range: -50…+400°C,sensor with flying leads and metal plate \_ Spring Loaded, IEC60751 Inset length ''L'': 250 mm Model: TSA101-Open connection wires PART NO:TSA102 "ABB" | NO | 4 |  |  | |
| **5** | Temperature Element,2\*PT100(3WIRE),Sheath: 6mm(AISI 316L),NPT 1/2",Temperature Range: -50…+400°C,sensor with flying leads and metal plate \_ Spring Loaded, IEC60751 Insertion Length :100 mm Model:TSA101-Open connection wires PART NO:TSA103 "ABB" | NO | 3 |  |  | |
| **6** | Field-mount temperature transmitter,Zone 1 (20):II 2 G (1D) Ex [iaD] ib IIC T6,housing:aluminium, With LCD-display,Cable Entry:M20 x 1.5,HART( 4 ... 20 mA ) Model No.:TTF300 PART NO:TTF300.E1.C .1.H.BF.CS.K2. M5.T0 "ABB" | NO | 6 |  |  | |
| **7** | Field-mount temperature transmitter,Zone 1 (20): II 2 G (1D) Ex [iaD] ib IIC T6,housing:stainless steel,With LCD-display,Cable Entry:Thread 2 x 1/2 in. NPT,HART( 4 ... 20 mA ) Model No.: TTF300 PART NO:TTF300.E1.D .2.H.BF.CS.K2. M5.T0 "ABB" | NO | 4 |  |  | |
| **8** | Temperature sensors,RANGE (°C):0 ~ 500,ELEMENT TYPE: THERMOCOUPLE (TYPE K)-Double, SHEATH: 6 mm-SS 316,1/2"NPTM,INSERTION LENGTH (U): 270mm, NIPPLE LENGHT (N): 150mm, Model No.: TSP311 PART NO:TSP311.A1.K1.N4.Z9.T1.D6.K2.T1.L1.Y1.AZ.CF.P3.U1 "ABB" | NO | 4 |  |  | |
| **9** | Temperature sensors,RANGE (°C): 0 ~ 300,ELEMENT TYPE:THERMOCOUPLE (TYPE K)-Double, SHEATH: 6 mm-SS 316,1/2"NPTM, INSERTION LENGTH (U): 250mm, NIPPLE LENGHT (N): 150mm,Model No.:TSP311 PART NO:TSP311.A1.K1.N4.Z9.T1.D6.K2.T1.L1.Y1.AZ.CF.P3.U1 "ABB" | NO | 4 |  |  | |
| **10** | Temperature sensors,Range (°C): 0 ~ 300,Element type:Thermocouple (TYPE K)-Double,Sheath: 6 mm-SS 316,CONN: 1/2"NPTM,INSERTION LENGTH (U):240mm,NIPPLE LENGHT (N):150mm, Model No.:TSP311 PART NO:TSP311.A1.K1.N4.Z9.T1.D6.K2.T1.L1.Y1.AZ.CF.P3.U1 "ABB" | NO | 4 |  |  | |
| **11** | Temperature sensors,RANGE (°C): 0 ~ 600, Element Type: Thermocouple (TYPE N)-Double, Sheath: 6 mm-NICROBELL, CONN: 1/2"NPTM,SPRING LOADED,INSERTION LENGTH (U):776mm, Model No.: TSP311 PART NO:TSP311.A1.K1.N4.Z9.T1.D6.N2.T1.L1.Y1.AZ.CF.P3.U1 "ABB" | NO | 3 |  |  | |
| **12** | Temperature sensors,RANGE (°C): 0 ~ 600, Element Type:Thermocouple (TYPE N)-Double, Sheath: 6 mm-NICROBELL, CONN: 1/2"NPTM,INSERTION LENGTH (U): 566mm,Model No.: TSP311 PART NO:TSP311.A1.K1.N4.Z9.T1.D6.N2.T1.L1.Y1.AZ.CF.P3.U1 "ABB" | NO | 3 |  |  | |
| **13** | Temperature sensors,RANGE (°C): 0 ~ 600, Element Type:Thermocouple (TYPE N)-Double, Sheath: 6 mm-NICROBELL, CONN: 1/2"NPTM,INSERTION LENGTH (U):1066mm,Model No.:TSP311 PART NO:TSP311.A1.K1.N4.Z9.T1.D6.N2.T1.L1.Y1.AZ.CF.P3.U1 "ABB" | NO | 3 |  |  | |
| **14** | Temperature sensors,RANGE (°C): 0 ~ 600,ELEMENT TYPE: THERMOCOUPLE (TYPE K)-Double, SHEATH: 6 mm-SS 316, CONN: 1/2"NPTM,INSERTION LENGTH (U): 150mm, NIPPLE LENGHT (N): 150mm,Model No.: TSP311 PART NO:TSP311.A1.K1.N4.Z9.T1.D6.K2.T1.L1.Y1.AZ.CF.P3.U1 "ABB" | NO | 4 |  |  | |
| **15** | Temperature sensors,RANGE (°C): 0 ~ 500,ELEMENT TYPE: THERMOCOUPLE (TYPE K)-Double, SHEATH: 6 mm-SS 316,1/2"NPTM,INSERTION LENGTH (U): 210mm, NIPPLE LENGHT (N): 150mm,Model No.: TSP311 PART NO:TSP311.A1.K1.N4.Z9.T1.D6.K2.T1.L1.Y1.AZ.CF.P3.U1 "ABB" | NO | 3 |  |  | |
| **16** | Temperature sensors,RANGE (°C): 0 ~ 500,ELEMENT TYPE: THERMOCOUPLE (TYPE K)-Double, SHEATH: 6 mm-SS 316, CONN: 1/2"NPTM,INSERTION LENGTH (U): 220mm, NIPPLE LENGHT (N): 150mm,Model No.:TSP311 PART NO:TSP311.A1.K1.N4.Z9.T1.D6.K2.T1.L1.Y1.AZ.CF.P3.U1 "ABB" | NO | 3 |  |  | |
| **17** | temperature transmitter,Zone 1 (20): II 2 G (1D) Ex [ia IIIC Da] ib IIC T6...T1Gb, HART ( 4 ... 20 mA ), Standard configuration, Witout Housing, With LCD indicator type A Model No.: TTH300 PART NO:TTH300.E1 + LCD type A "ABB" | NO | 12 |  |  | |
| **18** | DP FLOW TRANSMITTER,XMTR.RANGE( -400~400 mbar ),24 VDC LOOP POWERED,ACCURACY ( ± 0.06% F.S.) 4~20mA HART,Ex ia,IP-66, ELEMENT (Diaphragm-S.S.316L),CON.(1/2" NPT) Model No.:266DSH PART NO:266DSH.F.S.S.T.1.B.7.E1.LS.R1.B2.I2.H1 "ABB" | NO | 4 |  |  | |
| **19** | DP FLOW TRANSMITTER,XMTR.RANGE(-400~400 mbar),ACCURACY (± 0.06% F.S.),24 VDC LOOP POWERED, 4~20mA HART, Ex ia, IP-66, ELEMENT (Diaphragm-S.S.316L),ZONE 2 - IIC T3,PROCESS CON.(1/2" NPT) Model No:266DSH PART NO:266DSH.F.S.S.T.1.B.8.E1.L1.B2.I2.H1 "ABB" | NO | 4 |  |  | |
| **20** | DP FLOW TRANSMITTER,XMTR.RANGE(-1600~ 1600 mbar),ACCURACY (± 0.06% F.S.),24 VDC LOOP POWERED,4~20mA HART,Ex ia,IP-66,ELEMENT(Diaphragm-S.S.316L),ZONE 2 - IIC T3,PROCESS CON.(1/2" NPT) Model No:266DSH PART NO:266DSH.H.S.S.T.1.B.7.E1.LS.R1.B2.I2.H1 "ABB" | NO | 3 |  |  | |
| **21** | DIF.PRESSURE TRANSMITTER,XMTR.RANGE(-24 ~ 24 bar ),ACCURACY ( ± 0.06% F.S.), 24 VDC LOOP POWERED, 4~20mA HART, Ex ia, IP-66, ELEMENT (Diaphragm-S.S.316L),ZONE 2 - IIC T3, CON.(1/2" NPT) Model No.:266DSH PART NO:266DSH.P.S.S.T.1.B.7.E1.LS.R1.B2.I2.H1 "ABB" | NO | 3 |  |  | |
| **22** | DIF.PRESSURE TRANSMITTER,XMTR.RANGE(-101~101 mmH2O),ACCURACY( ± 0.06% F.S.),24 VDC LOOP POWERED,4~20mA HART,Ex ia,IP-66,ELEMENT(Diaphragm-Hastelloy® C-276),ZONE 2-IIC T3,CON(1/2" NPT) Model No:266DSH PART NO:266DSH.A.S.K.T.3.B.8.E1.L1.B2.I2.H3.V3 "ABB" | NO | 4 |  |  | |
| **23** | PRESSURE TRANSMITTER,XMTR.RANGE( -1 ~ 6 bar ),ACCURACY( ± 0.06% F.S.),24 VDC LOOP POWERED, 4~20mA HART, Ex ia, IP-66, ELEMENT (Diaphragm-S.S.316L),ZONE 2 - IIC T3, PROCESS CON.(1/2" NPT) Model No.: 266HSH PART NO:266HSH.M.S.T.B.8.E1.L1.B7.I2.H3 "ABB" | NO | 4 |  |  | |
| **24** | PRESSURE TRANSMITTER,XMTR.RANGE( -1 ~ 80 bar ),ACCURACY ( ± 0.06% F.S.),24 VDC LOOP POWERED,4~20mA HART,Ex ia,IP-66, ELEMENT (Diaphragm-S.S.316L),ZONE 2 - IIC T3,PROCESS CON.(1/2" NPT Model No.: 266HSH PART NO:266HSH.Q.S.T.B.7.E1.LS.R1.B7.I2.H3 "ABB" | NO | 4 |  |  | |
| **25** | PRESSURE TRANSMITTER,XMTR.RANGE ( -1 ~ 24 bar ),ACCURACY ( ± 0.06% F.S.),24 VDC LOOP POWERED,4~20mA HART, Ex ia,IP-66, ELEMENT (Diaphragm-S.S.316L), ZONE 2 - IIC T3,PROCESS CON.(1/2" NPT) Model No.: 266HSH PART NO:266HSH.P.S.T.B.8.E1.LS.R1.B7.I2.H3 "ABB" | NO | 3 |  |  | |
| **26** | Display Kit, 266HSH button display assembly upgrade Includes: LCD display, HMI 6 pin connector and cover PART NO:2105784-003 "ABB" | NO | 8 |  |  | |
| **27** | Display Kit, 266XMV and 266HSH button display assembly Includes: LCD display and HMI 6 pin connector PART NO:2105784-002 "ABB" | NO | 10 |  |  | |
| **28** | Blind Aluminium cover complete of with O-ring for 266 Pressure transmitter models PART NO:214915 "ABB" | NO | 8 |  |  | |
| **29** | Secondary Electronic module HART version for 266 Pressure transmitter models PART NO:AU3074 "ABB" | NO | 8 |  |  | |
| **30** | Penumatic Positioner Case:aluminium,Input 4 to 20 mA,two-wire, Ex ia IIC T6/T4 Gb,Single acting,fail safe,Cable:Thread M20×1.5,air pipe:Thread ¼-18 NPT,Design: Standard with Pressure gauge block Model:TZIDC PART NO:V18345-2027150001 + 7959114 "ABB" | NO | 4 |  |  | |
| **31** | I/P-module,Exia,single act.for TZIDC-V18345-2027150001 PART NO:7958510 Manufacturer: ABB | NO | 4 |  |  | |
| **32** | Integral display with integral keypad, Not with HART standard functionality, For Transmitter type 266DSH-HSH, With four keys for configuration and management of device.Model No.: L1 PART NO:L1 Manufacturer: ABB | NO | 12 |  |  | |
| **33** | Integrated digital display, Only with HART standard functionality, For Transmitter type 266DSH-HSH, With Two keys for zero/span Model No.: LS PART NO:LS Manufacturer: ABB | NO | 12 |  |  | |
| **34** | Limit switch 1NO/1NC 1.8 A PART NO:1SBV010141R1211 Manufacturer: ABB | NO | 8 |  |  | |
| **جمع کل به عدد ( یورو) :** | | | | |  | |
| **جمع کل به حروف ( یورو):** | | | | |  | |